CITY OF ARCHER CITY

The City of Archer City will perform a 
Water Quality Maintenance Flush
Beginning August 1, 2026

 To prevent any ongoing odors with the Drinking Water that are common this time of year, the City of Archer City will be performing a city-wide maintenance flush.  This consists of using free chlorine residual (chlorine) instead of our normal process consisting of total chloramines (chlorine and ammonia).  Both are acceptable methods of treatment that disinfect the water and are completely safe. 

This change in the treatment process helps flush out unwanted nuisances in the distribution lines that will improve the overall quality of the drinking water and will help improve the taste and odor. You may or may not experience a chlorine odor that you are not used to but do not worry, this is normal.

During this process the water will be completely safe to drink. This will take place through the month of August, and we will resume normal operations beginning September 1st.   

